PORTABLE APPLIANCE TESTING (PAT) REGISTER

Electricity at Work Regulations 1989. All portable electrical appliances used on site must be tested at the required frequency and carry a current test label. Equipment without a valid PAT test label must not be used.

| Item No. | Equipment Description | Make/ Model | Serial No. | Owner/ Company | Voltage (110v/240v) | Test Date | Next Test Due | Result (P/F) | Tester Name |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Testing Frequencies (HSE Guidance)

- Construction site 110v equipment: every 3 months

- Construction site 240v equipment: every month (use should be minimised)

- Site office equipment (240v): every 12 months

- Battery chargers: every 12 months

- Extension leads and transformers: every 3 months