PERMIT TO WORK: HOT WORKS

| Permit Number: |  |
| --- | --- |
| Date Issued: |  |
| Valid From: |  |
| Valid To: |  |
| Location of Work: | Ivy House, 23 Friarn Street, Bridgwater TA6 3LH |
| Description of Work: |  |
| Issued By (Name/Role): |  |
| Issued To (Name/Company): |  |

HAZARDS IDENTIFIED:

- Fire from ignition sources

- Burns to operatives

- Smoke/fume inhalation

- Damage to building fabric

- Risk to other occupants/operatives

PRECAUTIONS REQUIRED:

- Area cleared of combustible materials (minimum 5m radius)

- Fire extinguisher(s) present at point of work

- Fire watch maintained for 60 minutes after completion of hot works

- Smoke/heat detectors isolated (re-activate after work)

- Flammable materials covered or removed

- Adequate ventilation in place

- Operative competent and trained

- Appropriate PPE worn (welding mask/goggles, gloves, suitable clothing)

- Building occupants and other operatives informed

| Permit Issued By: | Name: | Signature: | Date/Time: |
| --- | --- | --- | --- |
| Permit Received By: | Name: | Signature: | Date/Time: |
| Permit Cancelled By: | Name: | Signature: | Date/Time: |

WARNING: This permit is only valid for the work, location and time period specified above. Work must cease immediately if conditions change or the permit expires. The permit must be returned to the issuer when work is complete or the permit is cancelled.

PERMIT TO WORK: CONFINED SPACES

| Permit Number: |  |
| --- | --- |
| Date Issued: |  |
| Valid From: |  |
| Valid To: |  |
| Location of Work: | Ivy House, 23 Friarn Street, Bridgwater TA6 3LH |
| Description of Work: |  |
| Issued By (Name/Role): |  |
| Issued To (Name/Company): |  |

HAZARDS IDENTIFIED:

- Toxic/flammable atmosphere

- Oxygen deficiency or enrichment

- Flooding/drowning

- Entrapment

- Restricted access/egress

PRECAUTIONS REQUIRED:

- Atmospheric testing completed and recorded (O2, CO, H2S, LEL)

- Continuous atmospheric monitoring in place

- Rescue plan in place with trained rescue team standing by

- Communication system established (visual and/or radio)

- Suitable RPE available and tested

- Safety harness and lifeline in use

- Entry/exit log maintained

- All services isolated and locked out

- Ventilation in place (natural or forced)

- First Aid and emergency equipment immediately available

| Permit Issued By: | Name: | Signature: | Date/Time: |
| --- | --- | --- | --- |
| Permit Received By: | Name: | Signature: | Date/Time: |
| Permit Cancelled By: | Name: | Signature: | Date/Time: |

WARNING: This permit is only valid for the work, location and time period specified above. Work must cease immediately if conditions change or the permit expires. The permit must be returned to the issuer when work is complete or the permit is cancelled.

PERMIT TO WORK: ELECTRICAL WORK (LIVE SYSTEMS)

| Permit Number: |  |
| --- | --- |
| Date Issued: |  |
| Valid From: |  |
| Valid To: |  |
| Location of Work: | Ivy House, 23 Friarn Street, Bridgwater TA6 3LH |
| Description of Work: |  |
| Issued By (Name/Role): |  |
| Issued To (Name/Company): |  |

HAZARDS IDENTIFIED:

- Electric shock/electrocution

- Burns from arc flash

- Fire from electrical fault

- Secondary injuries from shock reaction

PRECAUTIONS REQUIRED:

- Live working justified (testing/commissioning only)

- Circuit identified and isolated where possible

- Lock-out/tag-out procedures applied where applicable

- Insulated tools and rubber mats in use

- Suitable PPE worn (insulated gloves, safety glasses)

- No lone working during live electrical work

- RCD protection in place on all temporary supplies

- Competent and qualified operative confirmed

- Emergency isolation point identified and accessible

- First Aid trained person present on site

| Permit Issued By: | Name: | Signature: | Date/Time: |
| --- | --- | --- | --- |
| Permit Received By: | Name: | Signature: | Date/Time: |
| Permit Cancelled By: | Name: | Signature: | Date/Time: |

WARNING: This permit is only valid for the work, location and time period specified above. Work must cease immediately if conditions change or the permit expires. The permit must be returned to the issuer when work is complete or the permit is cancelled.