SITE INDUCTION REGISTER

| Site: | Ivy House, 23 Friarn Street, Bridgwater TA6 3LH |
| --- | --- |
| Principal Contractor: | Oxygen Management Ltd |
| Project: | Conversion of Care Home to HMO |
| Start Date: | 1st February 2026 |

All persons must complete a site induction before commencing work. No exceptions.

## Induction Checklist (covered during each induction)

- Site Manager identified as Responsible Person

- Orientation: Welfare Facilities, Office, Hot Water, Site Entrance

- Site Rules and Responsibilities (copy provided)

- Specific Site Hazards (overhead/underground services, excavations, scaffold, plant)

- First Aid: First Aider(s) identified, kit location, Accident Book location

- Emergency Procedures: Fire alarm, escape routes, assembly point, site address for 999 calls

- Fire extinguisher locations and types

- Smoking Policy and designated area

- PPE Requirements: Hard hat, hi-vis vest, safety boots (minimum at all times)

- Electricity: 110v or battery only, cable management

- Vehicular movements, site plant and delivery procedures

- Location of site H&S documentation (CPP, RAMS, COSHH file)

- F10 Notification (if notifiable project)

- Asbestos Survey results and any restrictions

- COSHH: Hazardous substances on site and control measures

- Parking arrangements

- Working at Height procedures and restrictions

- Manual Handling awareness

- Permits to Work system (hot works, confined spaces, electrical)

- Reporting procedures: hazards, near misses, accidents

INDUCTION SIGN-IN RECORD

| Date | Name | Company | Trade/Role | Inducted By | Signature |
| --- | --- | --- | --- | --- | --- |